## Slide 1: PROTECTING THE HEALTH AND SUSTAINABLE YIELD OF NOTHERN GUAM’S LENS AQUIFER WERI-GLE GHS Workshop 2025 | AUGUST 29, 2025

## Slide 2: The Northern guam lens aquifer
Lens Geometry and Zones of the NGLA, Hydroguam.net, Digital Atlas of Northern Guam | WERI | IREI (hydroguam.net)
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 3
~31,232
Customers served
Wastewater System
GWA collects and treats wastewater throughout the island
7
Service
basins
~300
Miles of
collection piping
6
Wastewater Treatment Plants
84
Wastewater
Lift Stations
3
Outfalls: 2 owned
1 shared

## Slide 4: Current challenges
Aging Infrastructure
Lack of Redundancy
Rising Contaminants
Increasing Population
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 5
Current Challenges – 2024 Partial Consent Decree
Major elements to be completed within 10 years:
GRAVITY SEWERS
30 miles of gravity main rehabilitation
5 priority capacity assurance projects
FORCE MAINS
Inventory, assessment
25% of total LF rehabilitated
PUMP STATIONS
All Tier 1 stations rehabilitated
50% of Tier 2 stations rehabilitated
Plan for Tiers 3 and 4
HAGATNA WWTP
Feasibility Study on Secondary Treatment
Upgrade and/or relocation

## Slide 6: Rising contaminants
Dieldrin
  Powerful insecticide
  Used 1950s to 1970s
  Probable human carcinogen
  Interim Action Level (IAL): 0.2 ppb or ug/L
PFAS
  PFOS, PFOA, PFNA, PFHxS
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 7: Granular activated carbon (gac) treatment
Treatments
Ion Exchange Resin
High-Pressure Membranes: Reverse Osmosis or Nanofiltration
GAC
  Removes many organic compounds
  Works on both PFAS and Dieldrin
  Simple Operations
  Requires large footprint
  Waste media disposal
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 8: Contaminants: Nitrates
Nitrates
Naturally occurring
High nitrate concentrations in wastewater
Adverse health effects in pregnancy
  Blue Baby Syndrome
Safe Drinking Water Standard:
  10 mg/L
1986 to 2019 - 84 wells w/ increasing nitrates
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 9: Capacity assurance projects (adacao)
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 10: Capacity assurance projects (gill breeze subdivision)
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 11: Hagatna wastewater treatment plant upgrades
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 12: Capacity assurance projects
Barrigada
~4,000 LF of sewer pipe
14 to 18” diameter pipe
Upsizing for Capacity
Dededo
~21,000 LF of sewer pipe
15 to 30” diameter pipe
Upsizing for Capacity
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 13: Wastewater pump station upgrades
Pump Station Priority Projects
Tier 1 Pump Station and Force Main Inspections
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules

## Slide 14: Q&A OPEN DISCUSSION
Notes: Agenda * Introduction * Overview of GWA’s 5-year CIP * Overall Program and Priorities * Specific Project Categories * Currently Available Funding * Approved 5-yr CIP * Projected Needs and Adjustments * Market Update * Expected Financing Structures * Short-Term Options Discussion * Planned Long-Term Takeout Financing * Strategy Outline * Follow-up Meeting Schedules